| FZ 9011 V | vacuum photoelectric cell |
| --- | --- |
|  | Fotocathode : Typ S 11; sensitive to blue; A = 4cm2 Maximum Ratings : Ua = 250V; Ik = 5µA Capacities : Cak = 0.9pF typical Characteristics : Ua = 100V; Ra = 1 MOhm; Io < 50nA; S = 45µA/lm |
|  | applications : lightsensitive switching, controlling and measuring applications |
|  |  | 1 k 2 - 3 a 4 a 5 a 6 - 7 k |  |
| detailed data on the Tube CD | B7G | pin connections |  |