### Specifications

PLC Programmable logic controller SR-12MRDC

PLC Programmable logic controller SR-12MRDC

| SR-12MRDC | 12-24VDC 8 points DC input (with 6 points analog ) , 4 points relay output |
| --- | --- |

PLC, Programmable logic controller
1,Reasonable price and high quality
2, Well sold in the market
3, CE RoHs certification

PLC  SR-12MRDC DC12-24V 8 point DC input (6 point analog) 4 point relay output

Performance & Features

This intelligent controller, adopting function block programming, having large programming capacity, being f reely 
  fprogrammed according to different users and different fields, can run at your desired time table and the RTC 
  accuracy can reach second and makes your time control more accurate. And up to 128 time sessions can  
  be set , especially suitable for time-control system. 
 
Safety password function makes your program absolutely safe. Before writing program, password can be set. And only  
  after entering the correct password, can the program be modified. 
It is equipped with a removable, convenient and programmable LCD, providing 64 friendly human-machine interfaces, 
  32 virtual keys, having the function to display the alarming message and parameter and to modify the parameter. 
  When needed, it can be installed. And when not needed, it can be removed and replaced with an ordinary front panel.  
  Thus the cost will be greatly reduced. 
The input can receive not only the digital input but also the analogue input to perform the control and . transmission of 
  fthe temperature, moisture, pressure, flow level unit and so on. 
 
It has well-featured and compact design with 8 point input and 4 point output. Equipped with expansion module, it can  
  be expanded into 82 I/O better ,and to MAX 122I/O.It can be connected with telephone voice module and remote control 
  module to perform the notification and alarming function. And the connection between the host and the module can 
  be Bridge SR-CBA or flexible connection SR-ECBA. 
The machine has short-circuit protection (internal) and relay output protection (external) function, which makes your  
 usage safer and easier.

Technical Index

| Power supply |  |
| --- | --- |
| Power | DC12V-24V |
| Input parameters: |  |
| Input No | 8(A0-A5,B4-B5) |
| Digital input | 8(A0-A5,B4-B5) |
| Analogue input | 6(A0-A5) |
| Power range | DC0-24V(digital)/DC0-10V(analogue) |
| Input signal0 | DC0-5V |
| Input signal1 | DC10-24V |
| Output parameters: |  |
| Output No | 4(QA0-QA3) |
| Output type | Relay output |
| Output voltage | DC0-24V |
| Output current | Resistive load 10A/Inductive load 2A |
| Environment temperature: |  |
| Running temperature | -2070 |
| Storage/shipment | -4070 |
| Switch frequency: |  |
| Mechanism | 10Hz |
| Resistor/light load | 2Hz |
| Sensitive load | 0.5Hz |
| Other parameters: |  |
| Clock buffer memory at 25 | 80h |
| RTC accuracy | Max±5s/day |
| Protection | IP20 |
| Emission on line | EN55011(B) |
| The main frequency range | 47-63Hz |
| Function block No | 128 |
| Program storage capacity | 64K |
| Isolation intensity | IEC1131 |