## Munka1
Display | [7 empty] | Trace | [5 empty] | Trace 0
Marker | [6 empty] | Select Marker | Format S11 (Refl) |  |  |  |  | LOGMAG | Trace 1
Stimulus | [5 empty] | Start | Search | Format S11 (Thru) |  |  |  | LOGMAG | Phase | Trace 2
Calibrate |  |  |  | Calibrate | Open | Stop | Search ← Left | Channel |  |  |  | Phase | Delay | Trace 3
Recall |  |  | Load From SD Card | Power | Short | Center | Search → Left | Scale |  |  | Scale=DIV | Delay | Smith | Store Trace
Measure |  | Off | Recall 0 | Save | Load | Span | Operations | Transform | Transform On | S11(REFL) | Reference position | Smith | SWR | Clear Trace
SD Card | Load | L/C Match | Recall 1 | Reset Cal Range | ISOLN | CW Freq | £ Tracking | IF Bandwith | Low Pass Impulse | S21(THRU) | E-Delay | Polar | Resistance | ← Back
Config | Save S1P | Cable (S11) | Recall 2 | Reset Cal Range | Thru | JOG Step 0 For Auto | ← Back | Data Smooth | Low Pass Step |  | S21 Offset | Linear | Reaktance
£ Pause Sweep | Save S2P | Resonance (S11) | Recall 3 | £ Apply | E-Delay | Sweep Points |  | Port-Z 50→50 | Bandpass | Minimum | £ Show grid values | Real | ¦Z¦ | Lin
| Sreenshot | Shunt LC (S21) | Recall 4 | ← Back | Done | ← Back | → Start | ← Back | Window | Normal | £ Dot grid | IMAG | → More | Log
| Save Calibration | Series LC (S21) | Recall 5 |  | Done In RAM |  | → Stop |  | Velocity Factor | Maximum | ← Back | → More | ← Back | Re + Im
| £ Auto Name | Series XTAL (S21) | Recall 6 | Auto | ← Back | Numeric Keypad | → Center | Numeric Keypad | ← Back |  |  | ← Back |  | R + jX
Touch Cal | ← Back | ← Back | ← Back | 2 ma |  |  | → Span |  |  | Numeric Keypad |  |  | Lin | R + L/C
Touch Test |  |  |  | 4 ma | Svave To SD Card | Set Points | → E-Delay |  | 2000 Hz |  |  | Series R | Log | G + jB
Expert Settings | Treshold | Load BMP | Velocity Factor | 6 ma | Save 0 | 51 Point | ← Back |  | 1000 Hz |  |  | Series X | Re + Im | G + L/C
Save Config | TXCO | Load 1SP | ← Back | 8 ma | Save1 | 101 Point |  |  | 333 Hz |  |  | Series ¦Z¦ | R + jX Shunt | Rp + jXp
Connection | Vbat Offset | Load 2SP |  | ← Back | Save 2 | 201 Point | Maximum |  | 100 HZ |  |  | Shunt R | R + jX Series | Rp + L/C
Version | £ Remember State | Load CAL | Measure Rl=50Ω |  | Save 3 | 301 Point | Minimum |  | 30 Hz |  |  | Shunt X | ← Back | ← Back
→ DFU | £ Flip Display | ← Back |  |  | Save 4 | 401 Point |  |  | ← Back |  |  | Shunt ¦Z¦
Brightness | Set Date |  | Numeric Keypad |  | Save 5 | ← Back | Marker 1 |  |  |  |  | Q factor | Polar
← Back | Set Time |  |  |  | Save 6 |  | Marker 2 |  | Smooth | Geom avg. |  | ← Back | Linear
| → More | Mode |  |  | ← Back |  | Marker 3 |  | Smooth off | Arith. avg. |  |  | Real | Z Phase
Reset and enter DFU | ← Back | Separator |  |  |  |  | Marker 4 |  | x1 |  |  |  | IMAG | Series C
← Back |  | Dump Firmware |  |  |  |  | Marker 5 |  | x2 |  |  |  | Q Factor | Series L
| USB | Load Command Script |  |  |  |  | Marker 6 |  | x3 |  |  |  | Conduc-tance | Parallel R
| Serial | Load Config.ini |  |  |  |  | Marker 7 |  | x4 |  |  |  | Suscep-tance | Parallel X
| Serial Speed | Clear Config |  |  |  |  | Marker 8 |  | x5 |  |  |  | ¦Y¦ | Parallel C
| ← Back | ← Back | Based on DiSlord's v1.2.20 firmware |  |  |  | All Off |  | x6 |  |  |  | → More | Parallel L
|  |  | NanoVNA-H4 only |  |  |  | £ Delta |  | ← Back |  |  |  | ← Back | ← Back
MicroSD card support required
|  |  | On-board UART expansion port |  |  |  | ← Back
New menu items in this firmware